RAID and mirroring
Track E0
AfNOG workshop
April 23-27 2007
Abuja, Nigeria

---
Types of redundancy
There are different levels of redundancy:
  - none – if a disk crashes, data is lost
  - RAID1 – 2 disks are mirrored, data is written to both disks at any time. One disk can be lost without losing data.
disk
DATA
disk
DATA
disk
DATA

---
Types of redundancy
  - RAID3, RAID5 – data is distributed across several disks, data parity used to rebuild a defective drive is either placed on a dedicated drive (RAID3) or across all drives (RAID5):
DATA
DATA
PARITY
DATA
DATA
PARITY
DATA
PARITY
DATA
PARITY
DATA
DATA
disk
disk
disk
disk
disk
disk
RAID3
RAID5

---
Types of redundancy
In case of a disk failure, the failed disk can be rebuilt...
  - RAID1 -> from the remaining disk (1-1 copy)
  - RAID3 -> from the remaining data + parity disk
  - RAID5 -> from the parity blocks on other disks

---
Hardware or software ?
In general, hardware RAID is more transparent to the user, and disk replacement is straightforward:
  - remove defective disk
  - install new disk
  - RAID controller detects this and starts rebuilding on new disk
(Note: real hardware RAID controllers, NOT BIOS RAID such as Promise)

---
Hardware or software ?
RAID3 and 5 can be complex to implement in software (in the OS), so hardware might be a better choice
But what happens if the RAID controller dies ? How does one recover if one does not have a spare controller ?
Consider having a spare controller for RAID3/RAID5
(Note: we mean real hardware RAID controllers, not BIOS software RAID such as Promise)

---
Hardware or software ?
RAID1 is easy to recover from and easier to implement in software (within the OS) – worst case, all one needs is to skip a header at the beginning of each disk.
FreeBSD and Linux have very good software RAID implementations nowadays
In FreeBSD, at least 3 implementations:
  - gmirror
  - ccd
  - gvinum (also RAID5, but not recommended)

---
FreeBSD: gmirror
gmirror is very easy to set up, many howtos available:
http://www.freebsd.org/doc/en_US.ISO8859-1/books/handbook/geom-mirror.html
http://dannyman.toldme.com/2005/01/24/freebsd-howto-gmirror-system/
http://www.onlamp.com/pub/a/bsd/2005/11/10/FreeBSD_Basics.html

---
Building a mirror - demo